(municipal logo)

**Application for THE CONNECTION OF SOLAR PV EMBEDDED GENERATION**

This application form is for the connection inverter-based solar photovoltaic (PV) generation to the electrical grid of (municipality). It applies to residential, commercial or industrial customers. **Applications for systems up to and including 1MVA may use this form**. Systems up to 350kVA fall within the NRS097-2-3 simplified connection criteria and thus are unlikely to require grid impact studies for their approval to be considered. Systems between 350kVA and 1MVA exceed the parameters of the NRS097-2-3, and thus may require grid impact studies before their approval is considered. The municipality will advise if such studies are required after this application form is submitted. For systems over 1MVA, please engage with the Municipality of (municipality) Electricity Department separately before filling in this form.

It is recommended that this form is filled in by a PV installer familiar with the technical details of the intended generation technology. ECSA-registered professional engineer or technologist sign-off of the Commissioning Report is mandatory, but such sign-off is not required at the Application stage.

If the applicant does not yet have an electricity connection, an application for a new connection will need to be submitted together with this application form.

PLEASE NOTE: FAILURE TO PROVIDE ALL RELEVANT INFORMATION AS REQUIRED BELOW MAY LEAD TO DELAYS IN THE APPLICATION PROCESS

|  |
| --- |
| **Project name:** Nominal AC capacity (kVA): |
| System type (tick): Rooftop 🞏 Ground mounted 🞏 Building integrated 🞏 |

|  |
| --- |
| **SECTION A: Applicant, Property and Installer information** |

|  |
| --- |
| Property Erf number: |
| Physical address: |
| Township / Suburb / Farm: Post code: |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site GPS coordinates: | Latitude (dd mm ss) |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S |  |  | ° |  |  | ‘ |  |  |  | `´ |

 |
| Longitude (dd mm ss) |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E |  |  | ° |  |  | ‘ |  |  |  | `´ |

 |

**Account Holder Details\***

|  |  |
| --- | --- |
| Name: |  |
| Electricity/Municipal/Rates Account Number: |  |
| Telephone Number: | Land: Mobile: |
| Email Address: |  |

\* - if the applicant does not yet have an electricity connection, this should be stated above and an application for a new connection will need to be submitted together with this application form.

**Installer Details**

|  |  |
| --- | --- |
| Company name: |  |
| List any professional memberships, certifications etc.: |  |
| Address: | Physical: | Postal: |
| Website: |  |
| Contact Person Name: |  |
| Telephone: | Land: Mobile: |
| Email address: |  |

**Construction Schedule**

|  |  |  |  |
| --- | --- | --- | --- |
| Anticipated Construction Start Date: |  | Anticipated Commissioning Date: |  |

|  |
| --- |
| **SECTION B: Embedded Generator Technical Information** |

**Solar PV Embedded Generator (EG) system details**

|  |  |
| --- | --- |
| Existing main switch: | Voltage (V): Current (A): |
| Total inverter AC capacity (kVA): |  | Total PV panel (nameplate) capacity (kWp): |  |
| Grid Connection mode (tick appropriate): | Energy from PV system to be used solely within the consumers electricity network and no excess power to be exported to Municipal Electricity Distribution network at any time (i.e. reverse power blocking to be installed) |  |
| Energy from PV system to be used within consumers electricity network and excess power to be exported to Municipal Electricity Distribution network |  |
| Energy from PV system to be used solely for exporting to Municipal Electricity Distribution Network |  |
| Does the EG include storage capabilities (tick appropriate): | Yes |  | No |  |
| Capacity (kWh): |  |
| Earthing arrangements i.e. TN-C-S: |

**Estimated Consumption and Generation Levels**

|  |  |
| --- | --- |
| Current electricity consumption/month (kWh) | Range from: to: |
| Estimated average output of solar PV/month (kWh) | Summer: Winter: |
| Monthly reverse feed (export) estimation (kWh) | Summer: Winter: |
| Maximum (peak) expected export power onto Municipal grid (kVA) |  |

**Preliminary design details (for systems >100kVA only):**

|  |
| --- |
| Attach a preliminary circuit diagram and design showing major components, proposed point of common coupling, isolating and interfacing devices with the municipal electrical network, protection schemes, customer electrical installation, earthing arrangements, etc. |

**Inverter Details**

|  |  |
| --- | --- |
| Manufacturer: |  |
| Model: |  |
| Number of Inverters: |  |
| Inverter AC rating (kVA): | Each: Total (if multiple): |
| Number of Phases\*: | Single Phase (**✓**) |  | Three Phase (**✓**) |  |
| Is the inverter/s certified according to NRS 097-2-1? (test certificate must be attached to this application): |  |

\* - see NRS097-2-3 for phase balancing requirements

|  |
| --- |
| **SECTION C: Regulatory requirements and standards** |

**List of regulatory approvals, requirements and references that the installation will comply with:**

|  |  |
| --- | --- |
| (note that the latest version of all of the below standards are applicable) | **✓** |
| NRS 097-2 : Grid interconnection of embedded generation: Part 2: Small scale embedded generation |  |
| SANS 10142- Parts 1 to 4: The wiring of premises (as amended and published) |  |

**NERSA license**

|  |  |  |
| --- | --- | --- |
| Does the system require a license from NERSA? (tick) | No |  |
|  | Yes |  |

**Clearance by other Municipal departments**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SECTION | COMMENTS | NAME | SIGNATURE | DATE |
| Planning and Building Development Management  |  |  |  |  |

Notes:

1. Electricity Services Dept will require **prior** approval from this department if necessary. Applications to connect to the municipal electrical grid will not be considered until relevant approval has been obtained.
2. Photovoltaic (PV) SSEG applications will require approval from Planning and Building Development Management if:
3. Roof top installations: PV panel(s) in its installed position projects more than 1.5m, measured perpendicularly, above the roof and/or projects more than 600mm above the highest point of the roof;
4. Installations on the ground: PV panel(s) in its installed position projects more than 2.1 metres above the natural/finished ground level.

|  |
| --- |
| **SECTION D: Declaration** |

I request the Municipality of (municipality) to proceed with a preliminary review of this embedded generation interconnection application and I agree to pay the cost associated with completing this review and obtaining written consent of the Municipality, though such costs are unlikely except if grid studies are required. Should such grid studies be required, a quotation for such work will be provided beforehand, giving me the opportunity to cancel or modify the application should I wish to do so.

I further consent to the Municipality providing this information to the National Electricity Regulator of SA (NERSA) and other Distributors as required.

I declare that this installation has been designed such that it complies with the requirements laid out in the latest version of the Municipality’s *Requirements for Embedded Generation* document. I agree not to interconnect and operate this proposed SSEG system without written approval from the Municipality to do this.

**Account Holder/Property Owner Signoff:**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Name Date Signature

**Installer Signoff:**

**Organisation name:**

**Person:**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Name Date Signature

**Return completed form to the relevant office, or email address:**

|  |
| --- |
| (office name/email) |
| (Contact details) |

|  |  |
| --- | --- |
| **Attachments to this application checklist (tick)** | **✓** |
| Preliminary circuit diagram (if >100kVA) |  |
| Inverter type test Certificate of Compliance and Test Report according to NRS 097-2-1, issued by accredited 3rd party test house |  |

**FOR OFFICE USE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date Application Received: |  |  | ApplicationReference No. |  |
|  |  |  |  |  |
| Further Information Required  | YES / NO |  | DateReceived: |  |
|  |  |  |  |  |
| Inspection Required | YES / NO |  | Date Undertaken: |  |
|  |  |  |  |  |
| More detailed studies Required | YES / NO |  | DateComplete: |  |
|  |  |  |  |  |
| Approved in Principle: | YES / NO |  | Date Applicant Advised: |  |
|  |  |  |  |  |
| **COMMISSIONING:** |  |  |  |  |
| Commissioning Report received: | YES / NO |  | Date received: |  |
|  |  |  |  |  |
| Further information required: | YES / NO |  | Date Received: |  |
|  |  |  |  |  |
| Installation inspection: | YES / NO |  | Date inspected: |  |
|  |  |  |  |  |
| SSEG meter installation required? | YES / NO |  | Date installed: |  |
|  |  |  |  |  |
| Tariff change required? | YES / NO |  | Date changed: |  |
|  |  |  |  |  |
|  |  |  |  |  |
| Comments: |  |  |  |  |
| **DECOMMISSIONING:** |  |  |  |  |
| Decommissioning Report received: | YES / NO |  | Date received: |  |
|  |  |  |  |  |
| Decommissioning CoC received: | YES / NO |  | Date received: |  |